Date:

Letter No.:

**To** : **Officer and General Manager**

 **Operations Department**

 **Myanmar Japan Thilawa Development Limited**

**Subject: Design Approval Application for Power System for (Name of Plot), (Company Name)**

We hereby submit the following documents for prior approval before installation/construction of electrical power equipment at (Lot No) in accordance with MJTD Power System Regulations for Locators. Three (3) sets of hard copy and soft copies (PDF and Auto CAD CD) are attached herewith.

Attachments:

1. Cover Sheet and DAAPS Format
2. Single line diagram including:
3. Transformers details information
4. CT and PT specification for metering and protection
5. Details drawing connection diagram of metering
6. Details drawing excavation level for buried/ mounted cable with details specification
7. Drawing of layout plan of power cable from tapping point to Main Distribution Board (MDB)
8. Drawings of site plan showing locations of substation, electrical room and generator room
9. Detailed drawings of 33kV switchgear panel with its specification
10. Technical specification of over current and earth fault relay
11. Declaration of relay operating time during short circuit and earth fault
12. Load List
13. Schedule of installation works including power energizing date
14. Cable termination kit specification
15. Application to Yangon Electricity Supply Corporation (YESC) for 33/ 0.4 kV transformer

Submitted by

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature

(Name of Applicant)